## Sheet1
Precon System | Medical/Lab Gas Plant | Cooling Tower Plant | Steam Boiler Plant | SM Accessories | Domestic Water Plant | Sanitary Equipment | Natural Gas Piping and Equipment | SM Equipment | Chilled, Condenser, Heating Water, Steam | Fuel Oil Piping and Equipment | Chilled, Condenser, Heating Water | Air Handling System Terminal Equipment | Air Handling Units | Air Rotation Units | Heating Water Boiler Plant | Chiller Plant, Cooling Tower Plant, Hot Water Boiler Plant | Chiller Plant | Refrigeration Equipment | General Exhaust Fan | Fixtures | Sanitary Equipment, Storm Piping | 0
Operations System | Medical/Lab Gas | Condenser Water | Steam | SM Accessories | Domestic Water | Sanitary Waste | Natural Gas | Chilled, Condenser, Heating Water, Steam | Fuel Oil | Chilled, Condenser, Heating Water | Terminal Equipment | Air Handling Units | Heating Water | Chilled Water | Refrigeration | Fans | Fixtures | Sanitary Waste, Storm | 0
Title | Alarm Panel | Basket Strainer | Boiler Blow Down | Condensate Lift Station | Condenser Water Filtration | Control Damper | Condensate Cooler | Boiler Deaerator System with Pump | DI Filtration | Dialysis Box | Emergency Power Off | Boiler Feed System with Pump | Flue Piping | Grilles, Registers, and Diffusers | GRD - Laminar Flow - with HEPA Filter | GRD - Laminar Flow | Sidewall Grille | Slot Diffuser | Intake Hood | Life Safety Damper | Louver | Manifold | Manual Volume Damper | Meter | Outlet | Owner Furnished Equipment Connection | Polishing System | Reduced Pressure Backflow Preventer | Pressure Reducing Valve | Transfer Pump | Domestic Drinking Water Remote Chiller | Roof Hood | Sound Attenuator | Sound Boot | Trap Guard | Trap Primer | Specialty Trap | Steam Trap | Variable Frequency Drive | Water Treatment Controller | Zone Valve Box | Air Compressor | Air Curtain | Air Dryer | Air Handling Unit | Air Receiver | Air Rotation Unit | Air Scoop | Air Separator | Baseboard Radiation | Heating Water Boiler | Steam Boiler | Bypass Filter Feeder | Cabinet Unit Heater | Chiller | Compressor | Computer Room Air Conditioning | Condensing Unit | Convector | Cooling Tower | Coupon Rack | Deionization Unit | RO Circ Pump | Ozone Generator | Reverse Osmosis Unit | RO Tank | Direct Outside Air Unit | Domestic HW Generator | Domestic Water Booster Pump | Domestic Water Heater | Ductless Split System | Energy Recovery Ventilator | Evaporator | Expansion Tank | Fan Coil Unit | Fan Powered Box | Destratification Fan | Fans | General Exhaust Fan | Grease Exhaust Fan | Isolation Exhaust Fan | Kitchen Exhaust Fan | Lab Exhaust Fan | Smoke Exhaust Fan | Stairway Pressurization Fan | Transfer Fan | Bottle Filling Station | Clinical Service Sink | Electric Water Cooler | Emergency Eye Wash | Emergency Eye Wash/Shower | Emergency Shower | Grooming Tub | Hose Bib | Ice Maker Box | Kitchen Sink | Lavatory | Mixing Valve | Mop Sink Basin | Roof Hydrant | Service Sink | Shower | Sink | Urinal | Utility Tub | Wall Box | Wall Hydrant | Wash Fountain | Washer Wall Box | Water Closet | Water Hammer Arrestor | Access Panel | Area Drain | Deck Drain | Downspout/Conductor Nozzle | Lambs Tongue | Overflow Drain | Overflow Roof Drain | Roof Drain | Roof Drain Outlet | Air Admittance Valve | Floor Clean Out | Floor Drain | Floor Sink | Garbage Disposal | Grade Clean Out | Hub Drain | Trench Drain | Wall Clean Out | Yard Clean Out | Furnace | Glycol Feeder | Grease Interceptor | Grease Trap | Heat Exchanger | Heat Pump | Water Source Heat Pump | Water-to-Water Heat Pump | Heat Trace | Humidifier | Infrared Gas Fired Heater | Make-up Air Unit | Pot Feeder | PTAC | Condensate Receiver w/Pump | Hydronic Pump | Fuel Oil Pump | Domestic Water Circ Pump | Sewage Ejector Pump | Feedwater Systems w/Pumps | Elevator Sump Pump | Radiant Panel | Return Air Unit | Roof Top Unit | Sand/Oil Interceptor | Acid Neutralization Tank | Storage Tank | Fuel Oil Tank | Pressure Vessel | Propane Storage Tank | Deaerator | Flash Tank | Domestic Water Heater Tank | Unit Heater | Unit Ventilator | Vacuum | VAV Box | Venturi VAV Box | Water Softener | 0
Drawing Abbreviation | AP | BS | nan | CLS | CWF | CD | DIF | DB | EPO | Flue | GRD | GRD-LF-HEPA | GRD-LF | SG | SD | IH | LSD | L | Manifold | MVD | Meter | Outlet | OFE Connection | RPBP | PRV | RH | Sound | ST | VFDs | Water Treatment Controller | ZVB | AC | AHU | ARU | AS | BBR | HWB | SB | BYF | ECUH | CUH | CH | CRAC | CU | CT | CPN | DI | ROCP | OZO | ROT | DOAS | DHWG | DWBP | DWH | ERV | ET | FCU | FPB | DSTF | GEF | GREF | IOEF | KEF | LEF | SEF | SPF | TF | BFS | CSS | EWC | EEW | EEWS | ESHR | GT | HB | IMB | KS | LAV | MV | MSB | SS | SHR | SK | UR | UT | WB | WH | WF | WWB | WC | WHA | AD | DD | DSN | RDO | OD | ORD | RD | AAV | FCO | FD | FS | GD | GCO | HD | TD | WCO | YCO | FUR | GF | GI | CWHX | STHX | HP | WSHP | HT | DH | SH | IRH | MAU | PF | PTAC | CP | CHWP | DWP | SEP | ESP | RP | RAU | RTU | SOI | ANT | DA | FT | DWHT | EUH | UH | UV | Vacuum | VAV | VVAV | WS | 0
Precon Tag | AP | BS | Other | CWF | CTLD | DI/RO | DB | EPO | Flue | GRD | GRD-LF-HEPA | GRD-LF | GRD-SG | GRD-SD | IH | LSD | L | Manifold | MVD | Meter | Outlet | OFE Connection | nan | PRV | RH | SATT | GRD-Sound | ST | VFD | Water Treatment Controller | ZVB | COMP | AC | AHU | AS | BBR | HWB | SB | CUH | CH | CRAC | CU | CT | DOAS | DBP | DWH | FCU | ERV | ET | FPB | DSTF | GEF | KEF | IOEF | SEF | DMW/WV | DMW | RD/ORD | DSN | WV | GF | GI | CWHX | STHX | HP | WSHP | HT | HUM | IRH | MAU | PF | CP | CHWP | DWP | SEP | ESP | RP | RTU | SOI | DA | FT | UH | UV | VAC | VAV | VVAV | 0
System Type ID | P | H | R
Asset Category | Accessory | Air Compressor | Air Curtain | Air Dryer | Air Handling Unit | Air Receiver | Air Rotation Unit | Air Scoop | Air Separator | Baseboard Radiation | Boiler | Bypass Filter Feeder | Cabinet Unit Heater | Chiller | Compressor - Refrig. | Computer Room Air Conditioning | Condensing Unit - Refrig. | Condensing Unit | Convector | Cooling Tower | Coupon Rack | DI/RO Equipment | Direct Outside Air Unit | Domestic HW Generator | Domestic Water Booster Pump | Domestic Water Heater | Ductless Split System | Energy Recovery Ventilator | Evaporator | Expansion Tank | Fan Coil Unit - Refrig. | Fan Coil Unit | Fan Powered Box | Fan | Fixture | Furnace | Glycol Feeder | Grease Interceptor | Grease Trap | Heat Exchanger - Refrig. | Heat Exchanger | Heat Pump | Heat Trace | Humidifier | Infrared Gas Fired Heater | Make-up Air Unit | Pot Feeder | PTAC | Pump | Radiant Panel | Return Air Unit | Roof Top Unit | Sand/Oil Interceptor | Tank | Unit Heater | Unit Ventilator | Vacuum | VAV Box | Venturi VAV Box | Water Softener
Equip Name ID | ACC | AC | ACT | AHU | ARU | ASC | AS | BBR | BLR | BYF | CUH | CH | CMP | CRAC | CU | CVR | CT | CPN | DIRO | PMP | TNK | DOAS | GEN | DBP | DWH | SS | ERV | EVP | ET | FCU | FPB | FAN | FIX | FUR | GF | HX | HP | HT | HUM | IRH | MAU | POT | PTAC | RP | RAU | RTU | UH | UV | VAV | VTI
Sub System Type | Alarm Panel | Basket Strainer | Blow Down | Condensate Lift Station | Condenser Water Filtration | Control Damper | Cooler | Deaerator | DI Filtration | Dialysis Box | Emergency Power Off | Feed System | Flue Piping | Grilles, Registers, Diffusers | Intake Hood | Life Safety Damper | Louver | Manifold | Manual Volume Damper | Meter | Outlet | Owner Furnished Equipment Connection | Polishing System | Pressure Reducing Valve | Pump | Remote Chiller | Roof Hood | Sound Attenuator | Sound Boot | Trap | Variable Frequency Drive | Water Treatment Controller | Zone Valve Box | Air Cooled | Water Cooled | Electric | Hot Water | No Heat | Air Dryer | Chilled Water, Heating Water | DX, Gas-Fired | DX, Heating Water | Other | Air Receiver | No Cooling | All | Steam | Direct Expansion | Evaporative | Evaporative Fluid Cooler | Closed Circuit - Indoor | Closed Circuit - Outdoor | Open Cell | Black Iron | PVC | Deionization Unit | Inline | Ozone Generator | Reverse Osmosis | RO Water | Indoor | Outdoor | Duplex | Triplex | Gas-Fired | Bladder | Without Bladder | Destratification | Dust Collector | General Exhaust | Grease Exhaust | Isolation Exhaust | Kitchen Exhaust | Lab Exhaust | Smoke Exhaust | Supply Fan | Transfer | Domestic Water | Roof Drains | Waste & Vent | Grease Interceptor | Grease Trap | Hydronic | Water-to-Water | Condensate | Electronic Metering | End Suction | Fuel Oil | Sewage Ejector Pump | Split Case | Sump Pump | Vertical Turbine | Heat Pump | Sand/Oil Interceptor | Acid Neutralization | Domestic Water, No HX | Horizontal | Pressure Vessel | Propane | Vertical | With Heat Exchanger | Vacuum | Water Softener | 0
Sub System ID | AP | BS | BLW | CLS | CWF | CTLD | CLR | DEA | DIF | DB | EPO | FEED | FLUE | GRD | IH | LSD | L | MAN | MVD | MET | OLT | OFE | POL | PRV | PMP | RMT | RH | SATT | SBT | TRAP | VFD | WTC | ZVB | AIR | WTR | ELE | HW | NOH | AD | CHW | DXG | DXH | OTH | AR | NoC | nan | STM | DX | EVP | EFC | CLI | CLO | OPN | IRN | PVC | DI | INL | OZO | RO | IND | OUT | DPX | TPX | GAS | BLD | NOB | DSTR | DCL | GEX | GREX | IOEX | KEX | LEX | SMEX | STSU | TFR | DMW | RD | WV | GI | GT | HYD | WTW | CND | EMR | ES | OIL | SEP | SC | SP | VT | HP | SOI | NEU | DW | HOR | VSL | LPG | VER | DHX | VAC | NO | SFT | 0
Sub System Class | All | Floor Mounted | Condensate | with Pumps | Laminar Flow with HEPA Filters | Laminar Flow | Sidewall Grille | Slot Diffuser | Domestic Water | Hydronic | Medical/Lab Gas | Natural Gas | Steam | Fuel Oil Transfer | Guard | Primer | Specialty | Receiver | Screw | Centrifugal | Desiccant | Refrigerated | Custom | Packaged | Electric | Gas Fired | Hot Water | No Heating | Flanged | Threaded | With Cover | Open (Without Cover) | Cast Iron Sectional | Copper Water Tube | Packaged Fire Tube | Packaged Flexible Water Tube | Packaged, Fire Tube, Condensing | Packaged Water Tube "D" Style Steam Generators | Package with Pump | Scroll | Absorption | Modular | Reciprocating | Condenser | Evaporator - Ceiling Mounted | Evaporator - Floor Mounted | Pump Package | Ceiling Mounted | Direct Expansion | Centrifugal Fan | Axial Fan | Axial Fiberglass Fan | RO Water | Storage, Above Ground | No Receiver | Heat Pump | Horizontal Tank | Instantaneous | Vertical Tank | Tank | Electric Heat | No Electric Heat | In-Line | Wall Mounted | Horizontal | Vertical | Propeller | Axial | Upblast | Utility Set | Vane Axial | Inline | Utility Set, High Plume | Bottle Filling Station | Clinical Service Sink | Electric Water Cooler | Emergency Eye Wash | Emergency Eye Wash/Shower | Emergency Shower | Grooming Tub | Hose Bib | Ice Maker Box | Kitchen Sink | Lavatory | Mixing Valve | Mop Sink Basin | Roof Hydrant | Service Sink | Shower | Sink | Urinal | Utility Tub | Wall Box | Wall Hydrant | Wash Fountain | Washer Wall Box | Water Closet | Water Hammer Arrestor | Access Panel | Area Drain | Deck Drain | Downspout/Conductor Nozzle | Lambs Tongue | Overflow Drain | Overflow Roof Drain | Roof Drain | Roof Drain Outlet | Air Admittance Valve | Floor Clean Out | Floor Drain | Floor Sink | Garbage Disposal | Grade Clean Out | Hub Drain | Trench Drain | Wall Clean Out | Yard Clean Out | Polyethylene | Steel | Shell and Tube | Plate and Frame | SHARC | Direct Fired | Indirect Fired | Duplex | Simplex | Grinder Only | Feedwater | Above Ground | Below Ground | Deaerator | Flash, Above Ground | Storage, Underground | Venturi Valve | 0
Class ID | FLR | CND | PMP | HEPA | LF | SG | SD | DW | HYD | MED | GAS | STM | OIL | GRD | PMR | SP | RCV | SCW | CNT | DES | REF | CST | PKG | ELE | HW | NoH | FLG | THD | CVR | OPN | CIS | CWT | PFT | PWT | PFC | PWS | SCR | ABS | MOD | RCP | ECL | EFL | CLG | DX | AXL | AXF | ROW | AG | NOR | HP | HOR | INS | VER | TNK | INL | WAL | PRP | CEN | UPB | UTY | VAX | PLM | BFS | CSS | EWC | EEW | EEWS | ESHR | GT | HB | IMB | KS | LAV | MV | MSB | RH | SS | SHR | SK | UR | UT | WB | WH | WF | WWB | WC | WHA | AP | AD | DD | DSN | RDO | OD | ORD | RD | AAV | FCO | FD | FS | GD | GCO | HD | TD | WCO | YCO | PLY | STL | ST | PF | SHC | DIR | IDT | DPX | SPX | GDR | FDW | BG | DA | UG | 0
Unit | ACC: EA; AC: INCHES; ACT: GAL; AHU: HP; ARU: GPM; ASC: CFM; AS: LF; BBR: MBH; BLR: TONS; CUH: kW; CH: LBS/HR; CMP: GPD