## Sheet1
Unnamed: 0 | D20 | D20 - PLUMBING | D20 - PLUMBING.1
| D2010 | PLUMBING FIXTURES | D2010 - PLUMBING FIXTURES
| D2010110 | Toilet | D2010110 - TOILET
| D2010210 | Urinal | D2010210 - URINAL
| D2010310 | Lavatory | D2010310 - LAVATORY
| D2010410 | Sink | D2010410 - SINK
| D2010430 | Laboratory Sink | D2010430 - LABORATORY SINK
| D2010510 | Bathtub | D2010510 - BATHTUB
| D2010610 | Group Wash Fountain | D2010610 - GROUP WASH FOUNTAIN
| D2010710 | Shower | D2010710 - SHOWER
| D2010810 | Drinking Fountain | D2010810 - DRINKING FOUNTAIN
| D2010820 | Water Cooler | D2010820 - WATER COOLER
| D2010901 | Emergency Shower | D2010901 - EMERGENCY SHOWER
| D2010902 | Emergency Eye Wash | D2010902 - EMERGENCY EYE WASH
| D2010903 | Bidet | D2010903 - BIDET
| D2020 | DOMESTIC WATER DISTRIBUTION | D2020 - DOMESTIC WATER DISTRIBUTION
| D2020210 | Water Heaters, Residential, Elec | D2020210 - WATER HEATERS, RESIDENTIAL, ELEC
| D2020220 | Water Heaters, Residential, Gas | D2020220 - WATER HEATERS, RESIDENTIAL, GAS
| D2020230 | Water Heaters, Residential, Oil | D2020230 - WATER HEATERS, RESIDENTIAL, OIL
| D2020240 | Water Heaters, Commercial, Elec | D2020240 - WATER HEATERS, COMMERCIAL, ELEC
| D2020250 | Water Heaters, Commercial, Gas | D2020250 - WATER HEATERS, COMMERCIAL, GAS
| D2020260 | Water Heaters, Commercial, Oil | D2020260 - WATER HEATERS, COMMERCIAL, OIL
| D2020901 | Booster Pump | D2020901 - BOOSTER PUMP
| D2020902 | Storage Tank | D2020902 - STORAGE TANK
| D2020903 | Backflow Preventer | D2020903 - BACKFLOW PREVENTER
| D2020904 | Heat Transfer Package | D2020904 - HEAT TRANSFER PACKAGE
| D2020905 | Piping/Fittings | D2020905 - PIPING/FITTINGS
| D2020906 | Circulating Pump | D2020906 - CIRCULATING PUMP
| D2030 | SANITARY WASTE | D2030 - SANITARY WASTE
| D2030901 | Sanitary Waste Separator | D2030901 - SANITARY WASTE SEPARATOR
| D2030902 | Waste/Vent Piping | D2030902 - WASTE/VENT PIPING
| D2030905 | Sump Pump | D2030905 - SUMP PUMP
| D2040 | RAIN WATER DRAINAGE | D2040 - RAIN WATER DRAINAGE
| D2040210 | Roof Drains | D2040210 - ROOF DRAINS
| D2090 | OTHER PLUMBING SYSTEMS | D2090 - OTHER PLUMBING SYSTEMS
| D30 | D30 - HVAC | D30 - HVAC
| D3010 | ENERGY SUPPLY | D3010 - ENERGY SUPPLY
| D3020 | HEAT GENERATING SYSTEMS | D3020 - HEAT GENERATING SYSTEMS
| D3020126 | Boiler, Electric, Hot Water | D3020126 - BOILER, ELECTRIC, HOT WATER
| D3020128 | Boiler, Electric, Steam | D3020128 - BOILER, ELECTRIC, STEAM
| D3020130 | Boiler, Cast Iron, Hot Water, Gas | D3020130 - BOILER CAST IRON HOT WATER GAS
| D3020134 | Boiler, Cast Iron, Steam, Gas | D3020134 - BOILER, CAST IRON, STEAM, GAS
| D3020136 | Boiler, Cast Iron, Hot Water, Gas/Oil | D3020136 - BOILER, CAST IRON HT WTR GAS/OIL
| D3020138 | Boiler, Cast Iron, Steam, Gas/Oil | D3020138 - BOILER, CAST IRON, STEAM GAS/OIL
| D3020311 | Boiler Fuel Oil Pump | D3020311 - BOILER FUEL OIL PUMP
| D3020901 | Boiler, Cast Iron, Hot Water, Oil | D3020901 - BOILER, CAST IRON, HT WTR, OIL
| D3020902 | Boiler, Cast Iron, Steam, Oil | D3020902 - BOILER, CAST IRON, STEAM, OIL
| D3020903 | Boiler, Solid Fuel | D3020903 - BOILER, SOLID FUEL
| D3020904 | Boiler Feedwater Tank | D3020904 - BOILER FEEDWATER TANK
| D3020905 | Furnace | D3020905 - FURNACE
| D3020906 | Expansion Tank | D3020906 - EXPANSION TANK
| D3030 | COOLING GENERATING SYSTEMS | D3030 - COOLING GENERATING SYSTEMS
| D3030120 | Chiller, Scroll, Air Cooled | D3030120 - CHILLER, SCROLL, AIR COOLED
| D3030125 | Chiller, Scroll, Water Cooled | D3030125 - CHILLER, SCROLL, WATER COOLED
| D3030130 | Chiller, Recip, Water Cooled | D3030130 - CHILLER, RECIP, WATER COOLED
| D3030135 | Chiller, Recip, Air Cooled | D3030135 - CHILLER, RECIP, AIR COOLED
| D3030140 | Chiller, Centrifugal, Water Cooled | D3030140 - CHILLER, CENTRIFUGAL, WTR COOLED
| D3030145 | Chiller, Gas Absorption, Water Cooled | D3030145 - CHILLER, GAS ABSO, WTR COOLED
| D3030150 | Chiller, Steam Absorption, Water Cooled | D3030150 - CHILLER, STEAM ABSO, WTR COOLED
| D3030160 | Chiller, Screw, Air Cooled | D3030160 - CHILLER, SCREW, AIR COOLED
| D3030165 | Chiller, Screw, Water Cooled | D3030165 - CHILLER, SCREW, WATER COOLED
| D3030221 | Condensing Unit, Air Cooled | D3030221 - CONDENSING UNIT, AIR COOLED
| D3030222 | Condensing Unit, Water Cooled | D3030222 - CONDENSING UNIT, WATER COOLED
| D3030223 | Split Ductless Heat Pump, Outdoor Unit | D3030223 - SPLIT DUCTLESS HEAT PUMP , OUTDOOR UNIT
| D3030223 | Split Ductless Unit, Outdoor Unit | D3030223 - SPLIT DUCTLESS UNIT, OUTDOOR UNIT
| D3030224 | Split System Heat Pump, Outdoor Unit | D3030224 - SPLIT SYSTEM HEAT PUMP , OUTDOOR UNIT
| D3030225 | Split System Heat Pump, Outdoor Unit | D3030225 - SPLIT SYSTEM HEAT PUMP , OUTDOOR UNIT
| D3030310 | Cooling Tower, Galvanized | D3030310 - COOLING TOWER, GALVANIZED
| D3030320 | Cooling Tower, Fiberglass | D3030320 - COOLING TOWER, FIBERGLASS
| D3030330 | Cooling Tower, Stainless Steel | D3030330 - COOLING TOWER, STAINLESS STEEL
| D3030901 | Condenser, DX, Air Cooled | D3030901 - CONDENSER, DX, AIR COOLED
| D3030902 | Condenser, DX, Evaporative | D3030902 - CONDENSER, DX, EVAPORATIVE
| D3030903 | Packaged DX Refrigerant System | D3030903 - PACKAGED DX REFRIGERANT SYSTEM
| D3040 | DISTRIBUTION SYSTEMS | D3040 - DISTRIBUTION SYSTEMS
| D3040106 | Air Handling Unit, Field Fab | D3040106 - AIR HANDLING UNIT, FIELD FAB
| D3040110 | Air Handling Unit, Central Station | D3040110 - AIR HANDLING UNIT, CENTRAL STA
| D3040114 | Air Handling Unit, Rooftop | D3040114 - AIR HANDLING UNIT, ROOFTOP
| D3040118 | Fan Coil A/C, Cab Mnt, Two Pipe | D3040118 - FAN COIL A/C, CAB MNT, TWO PIPE
| D3040122 | Fan Coil A/C, Cab Mnt, Four Pipe | D3040122 - FAN COIL A/C, CAB MNT, FOUR PIPE
| D3040124 | Fan Coil A/C, Duct Mnt, Two Pipe | D3040124 - FAN COIL A/C, DUCT MOUNT, 2 PIPE
| D3040128 | Fan Coil A/C, Duct Mnt, Four Pipe | D3040128 - FAN COIL A/C, DUCT MOUNT, 4 PIPE
| D3040132 | VAV Terminal | D3040132 - VAV TERMINAL
| D3040136 | VAV Terminal, Fan Powered | D3040136 - VAV TERMINAL, FAN POWERED
| D3040220 | Fan System, Centrifugal In-line | D3040220 - FAN SYSTEM, CENTRIFUGAL IN-LINE
| D3040230 | Fan System, Utility Set | D3040230 - FAN SYSTEM, UTILITY SET
| D3040240 | Fan System, Roof Exhaust | D3040240 - FAN SYSTEM, ROOF EXHAUST
| D3040250 | Comm/Ind Vacuum Dust Collection | D3040250 - COMM/IND VACUUM DUST COLLECTION
| D3040260 | Kitchen Exhaust/Make-up Air | D3040260 - KITCHEN EXHAUST/MAKE-UP AIR
| D3040312 | Condensate Return Pump | D3040312 - CONDENSATE RETURN PUMP
| D3040313 | Condensate Return Pump, Duplex | D3040313 - CONDENSATE RETURN PUMP, DUPLEX
| D3040330 | Circulating Pump, End Suction | D3040330 - CIRCULATING PUMP, END SUCTION
| D3040340 | Circulating Pump, Double Suction | D3040340 - CIRCULATING PUMP, DOUBLE SUCTION
| D3040610 | Heat Exchanger, Plate Type | D3040610 - HEAT EXCHANGER, PLATE TYPE
| D3040620 | Heat Exchanger, Shell Type | D3040620 - HEAT EXCHANGER, SHELL TUBE
| D3040901 | Dehumidifier | D3040901 - DEHUMIDIFIER
| D3040902 | Humidifier | D3040902 - HUMIDIFIER
| D3040903 | Fan Coil A/C, DX | D3040903 - FAN COIL A/C, DX
| D3040904 | Split Ductless System, Indoor Unit | D3040904 - SPLIT DUCTLESS SYSTEM, INDOOR UNIT
| D3040905 | Split System Heat Pump, Indoor Unit | D3040905 - SPLIT SYSTEM HEAT PUMP, INDOOR UNIT
| D3050 | TERMINAL & PACKAGE UNITS | D3050 - TERMINAL & PACKAGE UNITS
| D3050120 | Unit Heaters, Gas | D3050120 - UNIT HEATERS, GAS
| D3050130 | Unit Heaters, Hydronic | D3050130 - UNIT HEATERS, HYDRONIC
| D3050170 | Split Systems Air Cooled Condensing Unit | D3050170 - SPLIT SYSTEMS AIR COOLED CONDENSE UNIT
| D3050175 | Rooftop A/C | D3050175 - ROOFTOP A/C
| D3050176 | Rooftop Air Conditioner, Electric Heat | D3050176 - ROOFTOP AIR CONDITIONER, ELECTRIC HEAT
| D3050178 | Rooftop Air Conditioner, Hot Water Heat | D3050178 - ROOFTOP AIR CONDITIONER, HOT WATER HEAT
| D3050179 | Rooftop Air Conditioner, Steam Heat | D3050179 - ROOFTOP AIR CONDITIONER, STEAM HEAT
| D3050185 | Computer Room Cooling Units | D3050185 - COMPUTER ROOM COOLING UNITS
| D3050201 | PKG A/C, Air Cooled, Elect Heat | D3050201 - PKG A/C, AIR COOLED, ELEC HEAT
| D3050203 | PKG A/C, Air Cooled, HW Heat | D3050203 - PKG A/C, AIR COOLED, HW HEAT
| D3050210 | PKG A/C, Water Cooled, Elect Heat | D3050210 - PKG A/C, WATER COOLED, ELEC HEAT
| D3050220 | PKG A/C, Water Cooled, HW Heat | D3050220 - PKG A/C, WATER COOLED, HW HEAT
| D3050230 | Heat Pump, Wtr Source, Cent Sta | D3050230 - HEAT PUMP, WTR SOURCE, CENT STA
| D3050235 | Heat Pump, Wtr Source, Console | D3050235 - HEAT PUMP, WATER SOURCE, CONSOLE
| D3050240 | Heat Pump, Duct Mnt, Horizontal | D3050240 - HEAT PUMP, DUCT MNT, HORIZONTAL
| D3050245 | Heat Pump, Air/Air, Rooftop | D3050245 - HEAT PUMP, AIR/AIR, ROOF TOP
| D3050255 | Thru-Wall Heat A/C Unit | D3050255 - THRU-WALL A/C UNIT
| D3050260 | Thru-Wall Heat Heat Pump | D3050260 - THRU-WALL HEAT PUMP
| D3050330 | Package Terminal Air Conditioner (PTAC) | D3050330 - PACKAGE TERMINAL AIR CONDITIONER (PTAC)
| D3050340 | Package Terminal Heat Pump (PTHP) | D3050340 - PACKAGE TERMINAL HEAT PUMP (PTHP)
| D3050530 | Baseboard Heating | D3050530 - BASEBOARD HEATING
| D3050901 | Unit Heaters, Electric | D3050901 - UNIT HEATERS, ELECTRIC
| D3050902 | Unit Heater, Infrared | D3050902 - UNIT HEATER, INFRARED
| D3050904 | Smoke Vents | D3050904 - SMOKE VENTS
| D3050905 | Hydronic Heating - Fin Tube | D3050905 - HYDRONIC HEATING - FIN TUBE
| D3060 | CONTROLS & INSTRUMENTATION | D3060 - CONTROLS & INSTRUMENTATION
| D3060901 | HVAC Controls, Electric, Digital | D3060901 - HVAC CONTROLS, ELECTRIC, DIGITAL
| D3060902 | HVAC Controls, Pneumatic | D3060902 - HVAC CONTROLS, PNUEMATIC
| D3060903 | Air Compressor | D3060903 - AIR COMPRESSOR
| D3060904 | Air Dryer | D3060904 - AIR DRYER
| D3060905 | Direct Digial Control (DDC) System | D3060905 - DIRECT DIGITAL CONTROL (DDC) SYSTEM
| D3070 | SYSTEMS TESTING & BALANCING | D3070 - SYSTEMS TESTING & BALANCING
| D3090 | OTHER HVAC SYSTEMS & EQUIPMENT | D3090 - OTHER HVAC SYSTEMS & EQUIPMENT
| D3090220 | Energy Recovery Wheel | D3090220 - ENERGY RECOVERY WHEEL
| D3090310 | Fume Hood Exhaust System | D3090310 - FUME HOOD EXHAUST SYSTEM
| D3090320 | Garage Exhaust Systems | D3090320 - GARAGE EXHAUST SYSTEMS
| D3090901 | Industrial Exhaust System | D3090901 - INDUSTRIAL EXHAUST SYSTEM
| D3090902 | Chemical Feedwater | D3090902 - CHEMICAL FEEDWATER
| D3090903 | Air Curtain | D3090903 - AIR CURTAIN
| D40 | FIRE PROTECTION | D40 - FIRE PROTECTION
| D4010 | SPRINKLERS | D4010 - SPRINKLERS
| D4010310 | Dry Pipe Systems | D4010310 - DRY PIPE SYSTEMS
| D4010350 | Preaction Systems | D4010350 - PREACTION SYSTEMS
| D4010370 | Deluge Systems | D4010370 - DELUGE SYSTEMS
| D4010390 | Fire Cycle Systems | D4010390 - FIRECYCLE SYSTEMS
| D4010410 | Wet Pipe Systems | D4010410 - WET PIPE SYSTEMS
| D4010905 | Fire Pump, Electric Motor Driven | D4010905 - FIRE PUMP, ELECTRIC MOTOR DRIVEN
| D4010906 | Fire Pump, Engine Driven | D4010906 - FIRE PUMP, ENGINE DRIVIEN
| D4010907 | Jockey Pump | D4010907 - JOCKEY PUMP
| D4010908 | Air Compressor | D4010908 - AIR COMPRESSOR
| D4020 | D4020 - STANDPIPES | D4020 - STANDPIPES
| D4020310 | Riser | D4020310 - RISER
| D4030 | D4030 - FIRE PROTECTION SPECIALTIES | D4030 - FIRE PROTECTION SPECIALTIES
| D4090 | D4090 - OTHER FIRE PROTECTION SYSTEMS | D4090 - OTHER FIRE PROTECTION SYSTEMS
| D4090901 | Carbon Dioxide Extinguishing Syt | D4090901 - CARBON DIOXIDE EXTINGUISHING SYS
| D4090902 | Hood Fire Protection | D4090902 - HOOD FIRE PROTECTION
| D4090903 | Backflow Preventer | D4090903 - BACKFLOW PREVENTER
| D4090904 | Fire Pumps | D4090904 - FIRE PUMPS
| D4090920 | Clean Agent Extinguishing Systems | D4090920 - CLEAN AGENT EXTINGUISHING SYSTEM
| D50 | nan | D50 - ELECTRICAL
| D5010 | nan | D5010 - ELECTRICAL SERVICE & DISTRIBUTION
| D5010120 | nan | D5010120 - ELECTRICAL SERVICE
| D5010240 | nan | D5010240 - SWITCHGEAR
| D5010901 | nan | D5010901 - TRANSFER SWITCH
| D5010902 | nan | D5010902 - TRANSFORMER
| D5010903 | nan | D5010903 - MOTOR CONTROL CENTER
| D5010905 | nan | D5010905 - CAPACITOR BANK
| D5010906 | nan | D5010906 - PANELBOARDS
| D5020 | nan | D5020 - LIGHTING & BRANCH WIRING
| D5020120 | nan | D5020120 - ELECTRICAL DISTRIBUTION
| D5020248 | nan | D5020248 - INTERIOR LIGHTING, FLUORECENT
| D5020250 | nan | D5020250 - INTERIOR LIGHTING, INCANDESCENT
| D5020252 | nan | D5020252 - INTERIOR LIGHTING, HIGH INT
| D5020901 | nan | D5020901 - EXIT LIGHTING
| D5020902 | nan | D5020902 - EXPLOSION PROOF LIGHTING
| D5020903 | nan | D5020903 - EXTERIOR LIGHTING
| D5030 | nan | D5030 - COMMUNICATION AND SECURITY
| D5030910 | nan | D5030910 - COMMUNICATION/ALARM SYSTEMS
| D5030911 | nan | D5030911 - FIRE ALARM CONTROL PANEL & ALARM SYSTEM
| D5030930 | nan | D5030930 - MASTER BOX
| D5090 | nan | D5090 - OTHER ELECTRICAL SYSTEMS
| D5090210 | nan | D5090210 - GENERATORS
| D5090901 | nan | D5090901 - EMERGENCY LIGHTING
| D5090902 | nan | D5090902 - LIGHTNING PROTECTION (ARRESTERS)
| D5090903 | nan | D5090903 - GROUNDING SYSTEM
| D5090904 | nan | D5090904 - UNINTERUPTIBLE POWER SUPPLY
| E10 | nan | E10 - EQUIPMENT
| E1010 | nan | E1010 - COMMERCIAL EQUIPMENT
| E1010220 | nan | E1010220 - CONDENSING UNIT, AIR COOLED
| E1010901 | nan | E1010901 - CONDENSER, DX, AIR COOLED
| E1010910 | nan | E1010910 - REFRIGERATOR/FREEZER WALK-IN BOX
| E1020 | nan | E1020 - INSTITUTIONAL EQUIPMENT
| E1030 | nan | E1030 - VEHICULAR EQUIPMENT
| E1030110 | nan | E1030110 - VEHICULAR SERVICE EQUIPMENT
| E1030111 | nan | E1030111 - AIR COMPRESSOR
| E1030112 | nan | E1030112 - AIR DRYER
| E1030310 | nan | E1030310 - LOADING DOCK EQUIPMENT
| E1040 | nan | E1040 - INDUSTRIAL PROCESS EQUIPMENT
| E1090 | nan | E1090 - OTHER EQUIPMENT
| E20 | nan | E20 - FURNISHINGS
| E2010 | nan | E2010 - FIXED FURNISHINGS
| E2020 | nan | E2020 - MOVEABLE FURNISHINGS
| E202002 | nan | E202002 - MODULAR PREFABRICATED FURNITURE